## Summary
LHoFT x STOKR solar bond: model summary
FICTIONAL company and site; real Luxembourg market inputs where labelled SOURCED. Not investment or legal advice. Change yellow cells on Inputs; everything recalculates.
Bond
Bond amount used | 2000000
Coupon | 6.5%
Tenor (years) | 15
Repayment profile | Annuity
Sized on | Fixed amount
Total uses | 5106352.783
Sponsor equity | 3106352.783
Gearing (bond / total uses) | 39.17%
Debt capacity if sized on Case A (annuity, target DSCR) | 2251816.4584
Debt capacity if sized on Case B (annuity, target DSCR) | 1444210.0949
Scenario results | Case A | Case B | Downside
Year-1 revenue | 532224 | 451885.5 | 532224
Year-1 CFADS | 350692.2361 | 270353.7361 | 350692.2361
Year-1 DSCR | 1.6487 | 1.271 | 1.6487
Minimum DSCR over bond life | 1.4959 | 0.93998 | 0.93998
Average DSCR over bond life | 1.5894 | 1.1133 | 1.221
Scheduled debt service not paid when due (EUR) | 0 | 0 | 0
Owed to bondholders and unpaid at end of model, incl. default interest (EUR) | 0 | 0 | 0
Default interest on arrears, total (EUR) | 0 | 0 | 0
Net wealth tax, year 1 (EUR) | 14531.7639 | 14531.7639 | 14531.7639
First year with a missed payment | none | none | none
DSRA drawn in total (EUR) | 0 | 0 | 0
Project IRR, unlevered (25 years) | 2.839% | -3.579% | -2.899%
Hosts' power savings, year 1 (EUR) | 49480.2 | 0 | 49480.2
Sponsor IRR incl. power savings before host tax (25 years, reference only) | 3.687% | -13.15% | -11.38%
Hosts' power savings after tax, year 1 (EUR) | 37669.2763 | 0 | 37669.2763
Sponsor IRR incl. after-tax power savings (25 years) | 3.146% | -13.15% | -11.55%
Owner IRR unlevered, project cash + after-tax savings (25 years) | 4.12% | -3.579% | -2.493%
Owner simple payback on capex, project cash + after-tax savings (years) | 13.6111 | n/a | n/a
First year owners are locked out (cover below lock-up) | none | 9 | 9
Years with owners locked out | 0 | 7 | 7
Operating cash shortfall vs debt service, total (EUR) | 0 | 21187.7977 | 21187.7977
Equity IRR (25 years) | 1.342% | -13.15% | -12.07%
EUR 2M test: annuity bond of the fixed amount on Inputs | Case A | Case B
Annual debt service | 212705.5659
Year-1 DSCR (sizing CFADS) | 1.4637 | 1.1761
Minimum DSCR over tenor (sizing CFADS) | 1.4637 | 0.93874
Checks
Sources = uses | OK
Bond repaid by maturity | OK
Premium and investment aid not both on | OK
Tenor within model horizon | OK
Case A and Case B: no arrears left at end of model | OK
Factsheet figures (per bond token)
Principal per token (EUR) | 500
Number of tokens | 4000
Payment per token, year 1 (interest + principal, EUR) | 53.1764
of which interest, year 1 (EUR) | 32.5
of which principal, year 1 (EUR) | 20.6764
Total paid per token over the bond life if all paid (EUR) | 797.6459
Debt service reserve at closing (EUR) | 106352.783
Debt service reserve in months of payments | 6
Issuance costs as % of bond | 10%

## Inputs
Inputs: every hardcoded number in the model
Blue = input. Yellow = decision lever (Manuel). Labels: SOURCED (real, cited), DERIVED (computed from sourced data), ASSUMPTION (our estimate), FICTIONAL (invented setting). Full sources in research/ notes. Prepared 2026-10-11.
Key | Input | Value | Unit | Label | Source | Source date | Confidence
Plant and yield
kwp | Plant size per rooftop | 3000 | kWp | FICTIONAL | Locked range 2.5-3 MWp per site (Manuel, 2026-10-11). Raised from 2,750 to 3,000 on 2026-10-14 (Manuel) so the EUR 2M bond survives both hosts leaving without the reserve once negative-price loss (15%) and net wealth tax are in: a design choice for a fictional site, not an evidence input | 2026-10-14 | n/a
n_roofs | Number of rooftops in the programme (one bond) | 2 | count | FICTIONAL | Decision D1: EUR 2M programme across 2 rooftops (Manuel, 2026-10-11) | 2026-10-11 | n/a
yield | Specific yield P50, year 1 | 1000 | kWh/kWp/yr | SOURCED | PVGIS v5.2 API re-run, 49.50N 6.11E, 10 deg, 14% loss (research/r4-lux-solar-inputs.md) | 2026-10-11 | high
yield_sd | Interannual yield SD | 48.6 | kWh/kWp | SOURCED | PVGIS seriescalc 2005-2020 (research/r4-lux-solar-inputs.md) | 2026-10-11 | high
avail | Availability | 99% | % | ASSUMPTION | No source; typical 98-99.5% (research/r4-lux-solar-inputs.md) | 2026-10-11 | speculation
deg | Module degradation | 0.4% | %/yr | ASSUMPTION | ZSW and ISE use 0.25%; 0.4% lender-conservative (research/r4-lux-solar-inputs.md) | 2025-10 | medium
life | Plant life modelled | 25 | years | ASSUMPTION | Model horizon; columns run to year 25 | 2026-10-11 | n/a
capex | Capex all-in | 800 | EUR/kWp | DERIVED | ZSW for BMWK 660-720 EPC for 1.5-3 MW + Lux premium, development, grid connection, contingency (research/r4-lux-solar-inputs.md) | 2025-10 | medium
Revenue
host_share | Host share of output (Case A) | 70% | % | ASSUMPTION | Locked decision (Manuel, 2026-10-11) | 2026-10-11 | n/a
ppa | On-site PPA price, year 1 | 110 | EUR/MWh | DERIVED | Manuel 2026-10-11: set as a ~24% discount to the 2025 band ID cost EUR 145/MWh; against the H1 2026 price EUR 121.9 the discount is ~10% (research/r4-lux-solar-inputs.md; research/r5-feasibility.md) | 2026-10-05 | medium
host_cost | Host avoided grid cost, year 1 (savings basis; affects savings rows only, not cover) | 121.9 | EUR/MWh | SOURCED | Eurostat nrg_pc_205, LU band ID 2,000-19,999 MWh, total excl. VAT, 2026-S1 = 0.1219 EUR/kWh (updated 2026-10-09). Central case per T1 decision 2026-10-13 (research/r5-feasibility.md); range 115-145 in feasibility_facts.json. Was 145 (2025 energy 108 + network 37). Electricity tax is still due on on-site sale, so this slightly overstates the avoided cost (R4: ~115-125) | 2026-10-09 | high (price) / medium (as avoided cost)
host_cost_esc | Host avoidable cost escalation | 1% | %/yr | ASSUMPTION | Same as PPA indexation | 2026-10-11 | speculation
ppa_idx | PPA indexation | 1% | %/yr | ASSUMPTION | No source (research/r4-lux-solar-inputs.md) | 2026-10-11 | speculation
ppa_tenor | PPA tenor | 20 | years | ASSUMPTION | Manuel 2026-10-11: 20 years gives the 15y bond a 5-year tail | 2026-10-11 | n/a
capture | Merchant solar capture price, year 1 | 45 | EUR/MWh | SOURCED | DE-LU solar market value 2025 = 45.08 (green-2-market.de) (research/r4-lux-solar-inputs.md) | 2026-10-05 | high (history)
capture_esc | Capture price escalation | 0% | %/yr | ASSUMPTION | Flat nominal; conservative given cannibalisation | 2026-10-11 | speculation
p1 | Tender market premium won (1 = yes, 0 = no) | 1 | switch | ASSUMPTION | FICTIONAL company bids the 8th PV tender (closes 2026-10-30, rooftop cap EUR 95/MWh) (research/r4-lux-solar-inputs.md) | 2026-07 | n/a
p2 | Premium also paid on export while host buys on-site (1/0) | 0 | switch | ASSUMPTION | UNVERIFIED: tender spec only on request from PV@eco.etat.lu; specialist check (research/r4-lux-solar-inputs.md) | 2026-10-11 | speculation
ref | Tender reference value (our bid, assumed won) | 92.5 | EUR/MWh | ASSUMPTION | Bid level between two sourced points: 7th round award 89.75 (one lot-2b award), 8th round rooftop cap 95 (guichet.public.lu) (research/r4-lux-solar-inputs.md) | 2026-07 | medium
neg | Exported volume lost to negative-price rule | 15% | % | ASSUMPTION | ZSW long-run 15% of DE PV output in negative hours (20% in 2024) (research/r4-lux-solar-inputs.md); Enervis via pv magazine 2025-06-06: ~28% of potential solar output in negative hours Jan-May 2025 (18% a year earlier); fewer negative hours in H1 2026 (299 vs 389, Euronews 2026-07-29). LU is in the DE-LU price zone; from 2027 no premium in any negative hour. Was 10% until 2026-10-14 (round-2 audit D2.1) | 2026-10-14 | medium
prem_tenor | Premium contract tenor | 15 | years | SOURCED | Lux tender: 15-year market-premium contract (research/r4-lux-solar-inputs.md) | 2026-07 | stated
dm_fee | Direct marketing fee | 3 | EUR/MWh exported | SOURCED (DE) | ZSW (research/r4-lux-solar-inputs.md) | 2025-10 | medium
grant_on | Investment aid instead of premium (1/0) | 0 | switch | ASSUMPTION | Self-consumption tender; cannot combine with premium tender (research/r4-lux-solar-inputs.md) | 2026-02 | stated rule
grant | Investment aid | 310 | EUR/kWp | SOURCED | 4th self-consumption tender average achieved, cap 395 (research/r4-lux-solar-inputs.md) | 2026-02 | stated
Operating costs (year 1, escalating)
om | O&M | 10 | EUR/kWp/yr | DERIVED | ZSW 15 EUR/kW all-in opex; ISE 21.5 incl. insurance (research/r4-lux-solar-inputs.md) | 2025-10 | medium
ins | Insurance | 2.5 | EUR/kWp/yr | ASSUMPTION | No clean source (research/r4-lux-solar-inputs.md) | 2026-10-11 | speculation
roof | Roof lease | 4 | EUR/kWp/yr | SOURCED (DE) | German vendor ranges 2.8-18 (research/r4-lux-solar-inputs.md) | 2026 | medium
admin | Asset management, SPV admin, audit (both sites) | 20000 | EUR/yr | ASSUMPTION | R4 proposed 15k for one site; +5k for a second site (research/r4-lux-solar-inputs.md) | 2026-10-11 | speculation
grid | Grid and metering, per rooftop | 2000 | EUR/yr | DERIVED | Creos 2026 tariff sheet: fixed metering items only (research/r4-lux-solar-inputs.md) | 2025-12-22 | medium
inv | Inverter replacement reserve | 4 | EUR/kWp/yr | ASSUMPTION | Replacement ~EUR 50/kW in years 12-15 (research/r4-lux-solar-inputs.md) | 2026-10-11 | speculation
bond_admin | Bond running costs (vehicle, paying/calculation agent, platform, token ops) | 20000 | EUR/yr | ASSUMPTION | BMN vehicle >= EUR 60k/yr on a EUR 100M programme; shared compartment assumed for a small issue (research/r3-stokr.md) | 2026-10-11 | speculation
esc | Opex escalation | 2% | %/yr | ASSUMPTION |  | 2026-10-11 | medium
Tax
tax | Corporate income tax + municipal business tax | 23.87% | % | SOURCED | PwC tax summaries, Luxembourg City 2025 (research/r4-lux-solar-inputs.md) | 2026-07-31 | high
depr | Tax depreciation period | 20 | years | SOURCED | 5% straight line, klima-agence PV tax note (research/r4-lux-solar-inputs.md) | 2024-01 | medium
nwt | Net wealth tax on unitary value (assets less debts, 1 January); not deductible | 0.5% | % | SOURCED | Grant Thornton Luxembourg, Tax tips: reduction of the NWT 2026 (https://www.grantthornton.lu/en/insights/tax-tips-reduction-of-the-net-wealth-tax-2026/). The reduction against prior-year corporate income tax is not modelled (ProjectCo pays little CIT, so it is small; conservative) | 2026 | high
nwt_min_lo | Minimum NWT, balance sheet up to the first threshold | 535 | EUR/yr | SOURCED | EY Luxembourg, minimum NWT from tax year 2025 (https://www.ey.com/en_lu/insights/tax/luxembourg-parliament-enacts-corporate-income-tax-reduction) | 2025 | high
nwt_min_mid | Minimum NWT, balance sheet between the thresholds | 1605 | EUR/yr | SOURCED | EY Luxembourg, as above | 2025 | high
nwt_min_hi | Minimum NWT, balance sheet above the second threshold | 4815 | EUR/yr | SOURCED | EY Luxembourg, as above | 2025 | high
nwt_b1 | Minimum NWT, first balance-sheet threshold | 350000 | EUR | SOURCED | EY Luxembourg, as above | 2025 | high
nwt_b2 | Minimum NWT, second balance-sheet threshold | 2000000 | EUR | SOURCED | EY Luxembourg, as above | 2025 | high
Bond and sizing (decision levers in yellow)
coupon | Bond coupon (15y amortising, senior) | 6.5% | % | DERIVED | 6.5% (6.0-7.5%): KfW 270 5.00-6.80% classes A-E, valid 2026-10-09, German proxy not open to a Lux issuer (audit-1 M4); Willemshoek 7.0% junior; SunCarlito 6% token (research/r2-comparable-deals.md) | 2026-10-09 | medium
tenor | Bond tenor | 15 | years | ASSUMPTION | Locked main case; tail issue flagged | 2026-10-11 | n/a
dscr | Target DSCR for sizing | 1.3 | x | ASSUMPTION | Locked 1.25-1.30; market deals ~1.15-1.23 (research/r2-comparable-deals.md) | 2026-10-11 | n/a
profile | Repayment profile (1 = annuity, 2 = sculpted) | 1 | switch | ASSUMPTION |  | 2026-10-11 | n/a
size_case | Size debt on (1 = Case A, 2 = Case B) | 1 | switch | ASSUMPTION | Decision D2 | 2026-10-11 | n/a
size_mode | Bond amount (1 = sized by DSCR, 2 = fixed amount below) | 2 | switch | ASSUMPTION | Decision D1 | 2026-10-11 | n/a
fixed_bond | Fixed bond amount (used if mode 2, and for the EUR 2M test) | 2000000 | EUR | ASSUMPTION | Brief: fictional company raises EUR 2M | 2026-10-11 | n/a
token | Principal per bond token (also the minimum ticket) | 500 | EUR | ASSUMPTION | Locked minimum ticket about EUR 500 (Manuel, 2026-10-11) | 2026-10-11 | n/a
dsra_m | DSRA size | 6 | months of next year's debt service | ASSUMPTION | Locked | 2026-10-11 | n/a
lockup | Distribution lock-up below DSCR | 1.1 | x | ASSUMPTION | Market convention | 2026-10-11 | medium
fee | Platform / placement success fee | 5% | % of bond | SOURCED (old) | STOKR ~5% (2019 interview); platforms 2-5% upfront (research/r3-stokr.md, research/r2-comparable-deals.md) | 2019 / 2026 | medium
legal | Legal, structuring, tax opinion | 60000 | EUR | ASSUMPTION |  | 2026-10-11 | speculation
vehicle | Control agent, register and token set-up (direct issuance, no securitisation vehicle) | 40000 | EUR | ASSUMPTION | Direct dematerialised issuance under Lux Blockchain Law IV; BMN1 vehicle set-up was capped at EUR 600k for a EUR 100M programme, which a EUR 2M issue cannot carry (research/r3-stokr.md) | 2026-10-11 | speculation
Downside scenario
ds_hosts | Hosts that stop buying in the downside | 2 | count | ASSUMPTION | Decision D4 | 2026-10-11 | n/a
ds_exit | Host stops buying from year | 5 | year | ASSUMPTION | Decision D4 | 2026-10-11 | n/a
ds_yield | Yield factor applied in downside | 1 | x P50 | ASSUMPTION | Set 0.933 for 10-yr P90 (research/r4-lux-solar-inputs.md) | 2026-10-11 | n/a
ds_shock | Capture price shock in downside | 0% | % | ASSUMPTION | e.g. -20% | 2026-10-11 | n/a
Comparison: short crowdfunding-style bond
cf_coupon | Coupon, 3-4 year bullet bond | 7.5% | % | DERIVED | Enerfip 2026 average 8.14% on ~34 months; open offers 6.5-9% (research/r2-comparable-deals.md) | 2026-10 | medium
cf_term | Term | 4 | years | ASSUMPTION |  | 2026-10-11 | n/a
kwp_tot | Total programme size (derived) | 6000 | kWp | DERIVED

## Sources & Uses
Sources and uses of funds at financial close (EUR)
Simplification: bond drawn at completion; no interest during construction (ASSUMPTION).
Uses
Construction capex | 4800000
Issuance costs (placement fee + legal + register/token set-up) | 200000
Initial DSRA funding | 106352.783
Total uses | 5106352.783
Sources
Tokenised bond | 2000000
Investment aid (if switched on) | 0
Sponsor equity (fills the gap) | 3106352.783
Total sources | 5106352.783
Bond as % of total uses (gearing) | 39.17%
Equity as % of total uses | 60.83%
Check: sources - uses (should be 0) | 0

## Debt
Debt: sizing and repayment schedule
Sizing uses CFADS before interest tax shield (no circularity). Annuity sizing: constant payment = lowest CFADS/DSCR in tenor. Sculpted: payment tracks CFADS/DSCR each year.
Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Sizing
Bond outstanding flag | 1/0 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sizing CFADS (selected case) | EUR |  | 311333.0312 | 311837.6665 | 312304.7273 | 312733.2667 | 313122.3177 | 313470.8931 | 313777.985 | 314042.5644 | 314263.5807 | 314439.9613 | 314570.6111 | 314654.4123 | 314690.2236 | 314676.8798 | 314613.1916 | 334990.1361 | 335231.9348 | 335427.8668 | 335576.8043 | 335677.5959 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Target debt service = sizing CFADS / DSCR | EUR |  | 239486.9471 | 239875.1281 | 240234.4056 | 240564.0513 | 240863.3213 | 241131.4562 | 241367.6808 | 241571.2034 | 241741.2159 | 241876.8933 | 241977.3931 | 242041.8556 | 242069.4027 | 242059.1383 | 242010.1474 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Helper: target or 1E12 outside tenor | EUR |  | 239486.9471 | 239875.1281 | 240234.4056 | 240564.0513 | 240863.3213 | 241131.4562 | 241367.6808 | 241571.2034 | 241741.2159 | 241876.8933 | 241977.3931 | 242041.8556 | 242069.4027 | 242059.1383 | 242010.1474 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000
Repayment schedule
Opening balance | EUR |  | 2000000 | 1917294.4341 | 1829213.0064 | 1735406.2858 | 1635502.1285 | 1529104.2009 | 1415790.408 | 1295111.2186 | 1166587.8819 | 1029710.5283 | 883936.1467 | 728686.4303 | 563345.4824 | 387257.3728 | 199723.5361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scheduled payment (interest + principal) | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest | EUR |  | 130000 | 124624.1382 | 118898.8454 | 112801.4086 | 106307.6384 | 99391.7731 | 92026.3765 | 84182.2292 | 75828.2123 | 66931.1843 | 57455.8495 | 47364.618 | 36617.4564 | 25171.7292 | 12982.0298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | EUR |  | 82705.5659 | 88081.4277 | 93806.7205 | 99904.1574 | 106397.9276 | 113313.7929 | 120679.1894 | 128523.3367 | 136877.3536 | 145774.3816 | 155249.7164 | 165340.948 | 176088.1096 | 187533.8367 | 199723.5361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing balance | EUR |  | 1917294.4341 | 1829213.0064 | 1735406.2858 | 1635502.1285 | 1529104.2009 | 1415790.408 | 1295111.2186 | 1166587.8819 | 1029710.5283 | 883936.1467 | 728686.4303 | 563345.4824 | 387257.3728 | 199723.5361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service due | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt capacity, annuity (constant payment = min target) |  | 0: 2251816.4584
Debt capacity, sculpted (NPV of target payments) |  | 0: 2266399.0467
Debt capacity, selected profile |  | 0: 2251816.4584
BOND AMOUNT USED |  | 0: 2000000
Check: balance repaid by maturity (should be ~0) |  | 0: 0

## Case A
Case A: each host buys 70% of its rooftop output on an on-site PPA, rest exported
All formulas. Inputs on the Inputs sheet. Debt schedule on the Debt sheet. EUR unless stated.
Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Generation
Operating year flag | 1/0 | bar: 1 to 25
Generation | MWh |  | 5940 | 5916.24 | 5892.575 | 5869.0047 | 5845.5287 | 5822.1466 | 5798.858 | 5775.6626 | 5752.5599 | 5729.5497 | 5706.6315 | 5683.805 | 5661.0698 | 5638.4255 | 5615.8718 | 5593.4083 | 5571.0347 | 5548.7505 | 5526.5555 | 5504.4493 | 5482.4315 | 5460.5018 | 5438.6598 | 5416.9051 | 5395.2375
Share of rooftops with a host buying on-site | 0-1 |  | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0%
Sold to hosts | MWh |  | 4158 | 4141.368 | 4124.8025 | 4108.3033 | 4091.8701 | 4075.5026 | 4059.2006 | 4042.9638 | 4026.792 | 4010.6848 | 3994.642 | 3978.6635 | 3962.7488 | 3946.8978 | 3931.1102 | 3915.3858 | 3899.7243 | 3884.1254 | 3868.5889 | 3853.1145 | 0 | 0 | 0 | 0 | 0
Exported from rooftops with a host | MWh |  | 1782 | 1774.872 | 1767.7725 | 1760.7014 | 1753.6586 | 1746.644 | 1739.6574 | 1732.6988 | 1725.768 | 1718.8649 | 1711.9894 | 1705.1415 | 1698.3209 | 1691.5276 | 1684.7615 | 1678.0225 | 1671.3104 | 1664.6252 | 1657.9667 | 1651.3348 | 0 | 0 | 0 | 0 | 0
Exported from rooftops without a host | MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5482.4315 | 5460.5018 | 5438.6598 | 5416.9051 | 5395.2375
Market premium contract active | 1/0 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported under premium | MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported at merchant price | MWh |  | 1782 | 1774.872 | 1767.7725 | 1760.7014 | 1753.6586 | 1746.644 | 1739.6574 | 1732.6988 | 1725.768 | 1718.8649 | 1711.9894 | 1705.1415 | 1698.3209 | 1691.5276 | 1684.7615 | 1678.0225 | 1671.3104 | 1664.6252 | 1657.9667 | 1651.3348 | 5482.4315 | 5460.5018 | 5438.6598 | 5416.9051 | 5395.2375
Revenue
PPA price | EUR/MWh |  | 110 | 111.1 | 112.211 | 113.3331 | 114.4664 | 115.6111 | 116.7672 | 117.9349 | 119.1142 | 120.3054 | 121.5084 | 122.7235 | 123.9508 | 125.1903 | 126.4422 | 127.7066 | 128.9837 | 130.2735 | 131.5762 | 132.892 | 134.2209 | 135.5631 | 136.9187 | 138.2879 | 139.6708
Merchant capture price | EUR/MWh |  | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
Host PPA revenue | EUR |  | 457380 | 460105.9848 | 462848.2165 | 465606.7918 | 468381.8083 | 471173.3639 | 473981.5571 | 476806.4872 | 479648.2539 | 482506.9575 | 485382.6989 | 488275.5798 | 491185.7023 | 494113.1691 | 497058.0836 | 500020.5497 | 503000.6722 | 505998.5562 | 509014.3076 | 512048.0329 | 0 | 0 | 0 | 0 | 0
Export revenue net of marketing fee | EUR |  | 74844 | 74544.624 | 74246.4455 | 73949.4597 | 73653.6619 | 73359.0472 | 73065.611 | 72773.3486 | 72482.2552 | 72192.3262 | 71903.5569 | 71615.9427 | 71329.4789 | 71044.161 | 70759.9843 | 70476.9444 | 70195.0366 | 69914.2565 | 69634.5994 | 69356.061 | 230262.1227 | 229341.0742 | 228423.7099 | 227510.015 | 226599.975
Total revenue | EUR |  | 532224 | 534650.6088 | 537094.662 | 539556.2516 | 542035.4702 | 544532.4111 | 547047.1682 | 549579.8358 | 552130.5091 | 554699.2837 | 557286.2558 | 559891.5225 | 562515.1812 | 565157.33 | 567818.0679 | 570497.4941 | 573195.7088 | 575912.8127 | 578648.9071 | 581404.0939 | 230262.1227 | 229341.0742 | 228423.7099 | 227510.015 | 226599.975
Operating costs
O&M | EUR |  | 60000 | 61200 | 62424 | 63672.48 | 64945.9296 | 66244.8482 | 67569.7452 | 68921.1401 | 70299.5629 | 71705.5541 | 73139.6652 | 74602.4585 | 76094.5077 | 77616.3978 | 79168.7258 | 80752.1003 | 82367.1423 | 84014.4852 | 85694.7749 | 87408.6704 | 89156.8438 | 90939.9806 | 92758.7802 | 94613.9559 | 96506.235
Insurance | EUR |  | 15000 | 15300 | 15606 | 15918.12 | 16236.4824 | 16561.212 | 16892.4363 | 17230.285 | 17574.8907 | 17926.3885 | 18284.9163 | 18650.6146 | 19023.6269 | 19404.0995 | 19792.1814 | 20188.0251 | 20591.7856 | 21003.6213 | 21423.6937 | 21852.1676 | 22289.2109 | 22734.9952 | 23189.6951 | 23653.489 | 24126.5587
Roof lease | EUR |  | 24000 | 24480 | 24969.6 | 25468.992 | 25978.3718 | 26497.9393 | 27027.8981 | 27568.456 | 28119.8251 | 28682.2216 | 29255.8661 | 29840.9834 | 30437.8031 | 31046.5591 | 31667.4903 | 32300.8401 | 32946.8569 | 33605.7941 | 34277.9099 | 34963.4681 | 35662.7375 | 36375.9923 | 37103.5121 | 37845.5823 | 38602.494
Asset management, SPV admin, audit | EUR |  | 20000 | 20400 | 20808 | 21224.16 | 21648.6432 | 22081.6161 | 22523.2484 | 22973.7134 | 23433.1876 | 23901.8514 | 24379.8884 | 24867.4862 | 25364.8359 | 25872.1326 | 26389.5753 | 26917.3668 | 27455.7141 | 28004.8284 | 28564.925 | 29136.2235 | 29718.9479 | 30313.3269 | 30919.5934 | 31537.9853 | 32168.745
Grid and metering | EUR |  | 4000 | 4080 | 4161.6 | 4244.832 | 4329.7286 | 4416.3232 | 4504.6497 | 4594.7427 | 4686.6375 | 4780.3703 | 4875.9777 | 4973.4972 | 5072.9672 | 5174.4265 | 5277.9151 | 5383.4734 | 5491.1428 | 5600.9657 | 5712.985 | 5827.2447 | 5943.7896 | 6062.6654 | 6183.9187 | 6307.5971 | 6433.749
Inverter replacement reserve | EUR |  | 24000 | 24480 | 24969.6 | 25468.992 | 25978.3718 | 26497.9393 | 27027.8981 | 27568.456 | 28119.8251 | 28682.2216 | 29255.8661 | 29840.9834 | 30437.8031 | 31046.5591 | 31667.4903 | 32300.8401 | 32946.8569 | 33605.7941 | 34277.9099 | 34963.4681 | 35662.7375 | 36375.9923 | 37103.5121 | 37845.5823 | 38602.494
Bond running costs (while outstanding) | EUR |  | 20000 | 20400 | 20808 | 21224.16 | 21648.6432 | 22081.6161 | 22523.2484 | 22973.7134 | 23433.1876 | 23901.8514 | 24379.8884 | 24867.4862 | 25364.8359 | 25872.1326 | 26389.5753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating costs | EUR |  | 167000 | 170340 | 173746.8 | 177221.736 | 180766.1707 | 184381.4941 | 188069.124 | 191830.5065 | 195667.1166 | 199580.459 | 203572.0681 | 207643.5095 | 211796.3797 | 216032.3073 | 220352.9534 | 197842.6457 | 201799.4986 | 205835.4886 | 209952.1984 | 214151.2424 | 218434.2672 | 222802.9526 | 227259.0116 | 231804.1918 | 236440.2757
EBITDA | EUR |  | 365224 | 364310.6088 | 363347.862 | 362334.5156 | 361269.2995 | 360150.917 | 358978.0442 | 357749.3293 | 356463.3925 | 355118.8247 | 353714.1877 | 352248.013 | 350718.8015 | 349125.0228 | 347465.1145 | 372654.8484 | 371396.2102 | 370077.3241 | 368696.7087 | 367252.8516 | 11827.8554 | 6538.1216 | 1164.6983 | -4294.1768 | -9840.3007
Tax and cash flow available for debt service (CFADS)
Tax depreciation | EUR |  | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 0 | 0 | 0 | 0 | 0
Tax, unlevered (used for sizing, no interest shield) | EUR |  | 29890.9688 | 29672.9423 | 29443.1347 | 29201.2489 | 28946.9818 | 28680.0239 | 28400.0591 | 28106.7649 | 27799.8118 | 27478.8635 | 27143.5766 | 26793.6007 | 26428.5779 | 26048.1429 | 25651.9228 | 31664.7123 | 31364.2754 | 31049.4573 | 30719.9044 | 30375.2557 | 2823.3091 | 1560.6496 | 278.0135 | 0 | 0
Plant tax book value, 1 January (capex less depreciation to date) | EUR |  | 4800000 | 4560000 | 4320000 | 4080000 | 3840000 | 3600000 | 3360000 | 3120000 | 2880000 | 2640000 | 2400000 | 2160000 | 1920000 | 1680000 | 1440000 | 1200000 | 960000 | 720000 | 480000 | 240000 | 0 | 0 | 0 | 0 | 0
Net wealth tax, unlevered (sizing basis: plant value, no debt deducted) | EUR |  | 24000 | 22800 | 21600 | 20400 | 19200 | 18000 | 16800 | 15600 | 14400 | 13200 | 12000 | 10800 | 9600 | 8400 | 7200 | 6000 | 4800 | 3600 | 2400 | 1200 | 535 | 535 | 535 | 535 | 535
Sizing CFADS (EBITDA - unlevered tax - unlevered net wealth tax) | EUR |  | 311333.0312 | 311837.6665 | 312304.7273 | 312733.2667 | 313122.3177 | 313470.8931 | 313777.985 | 314042.5644 | 314263.5807 | 314439.9613 | 314570.6111 | 314654.4123 | 314690.2236 | 314676.8798 | 314613.1916 | 334990.1361 | 335231.9348 | 335427.8668 | 335576.8043 | 335677.5959 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Bond interest (from Debt) | EUR |  | 130000 | 124624.1382 | 118898.8454 | 112801.4086 | 106307.6384 | 99391.7731 | 92026.3765 | 84182.2292 | 75828.2123 | 66931.1843 | 57455.8495 | 47364.618 | 36617.4564 | 25171.7292 | 12982.0298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax, levered (scheduled interest only; no loss carry-forward; conservative) | EUR |  | 0 | 0 | 1061.9803 | 2275.5526 | 3571.3485 | 4955.2077 | 6433.3631 | 8012.4668 | 9699.6175 | 11502.3898 | 13428.8653 | 15487.6664 | 17687.9911 | 20039.6512 | 22553.1123 | 31664.7123 | 31364.2754 | 31049.4573 | 30719.9044 | 30375.2557 | 2823.3091 | 1560.6496 | 278.0135 | 0 | 0
Total assets, 1 January (plant + reserve + retained cash) | EUR |  | 4906352.783 | 4666352.783 | 4426352.783 | 4186352.783 | 3946352.783 | 3706352.783 | 3466352.783 | 3226352.783 | 2986352.783 | 2746352.783 | 2506352.783 | 2266352.783 | 2026352.783 | 1786352.783 | 1546352.783 | 1200000 | 960000 | 720000 | 480000 | 240000 | 0 | 0 | 0 | 0 | 0
Unitary value, 1 January (assets less bond and arrears owed) | EUR |  | 2906352.783 | 2749058.3489 | 2597139.7766 | 2450946.4971 | 2310850.6545 | 2177248.5821 | 2050562.3749 | 1931241.5643 | 1819764.9011 | 1716642.2547 | 1622416.6363 | 1537666.3526 | 1463007.3006 | 1399095.4102 | 1346629.2469 | 1200000 | 960000 | 720000 | 480000 | 240000 | 0 | 0 | 0 | 0 | 0
Net wealth tax (0.5% of unitary value, at least the minimum; not deductible) | EUR |  | 14531.7639 | 13745.2917 | 12985.6989 | 12254.7325 | 11554.2533 | 10886.2429 | 10252.8119 | 9656.2078 | 9098.8245 | 8583.2113 | 8112.0832 | 7688.3318 | 7315.0365 | 6995.4771 | 6733.1462 | 6000 | 4800 | 3600 | 2400 | 1200 | 535 | 535 | 535 | 535 | 535
CFADS (EBITDA - levered tax - net wealth tax) | EUR |  | 350692.2361 | 350565.3171 | 349300.1828 | 347804.2304 | 346143.6977 | 344309.4664 | 342291.8692 | 340080.6547 | 337664.9505 | 335033.2237 | 332173.2392 | 329072.0148 | 325715.7739 | 322089.8945 | 318178.8559 | 334990.1361 | 335231.9348 | 335427.8668 | 335576.8043 | 335677.5959 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Cash waterfall (a missed amount stays owed as arrears with interest at the coupon and is paid first; owners get nothing while arrears are open)
Debt service due (from Debt) | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR (CFADS / debt service) | x | 1: 1.6487; 2: 1.6481; 3: 1.6422; 4: 1.6351; 5: 1.6273; 6: 1.6187; 7: 1.6092; 8: 1.5988; 9: 1.5875; 10: 1.5751; 11: 1.5617; 12: 1.5471; 13: 1.5313; 14: 1.5143; 15: 1.4959
Retained cash, opening | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Arrears owed to bondholders, opening | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default interest on arrears (at the coupon, ASSUMPTION) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total due to bondholders (scheduled + arrears + default interest) | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Paid to bondholders from operations and retained cash | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA, opening | EUR |  | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA drawn | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Arrears owed to bondholders, closing | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service NOT paid on time (this year's scheduled payment still owed; cash pays oldest first) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA target (months / 12 x next year's debt service) | EUR |  | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA top-up | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA release | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA, closing | EUR |  | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash available for distribution | EUR |  | 137986.6702 | 137859.7511 | 136594.6169 | 135098.6645 | 133438.1318 | 131603.9005 | 129586.3033 | 127375.0888 | 124959.3845 | 122327.6578 | 119467.6733 | 116366.4489 | 113010.208 | 109384.3286 | 211826.073 | 334990.1361 | 335231.9348 | 335427.8668 | 335576.8043 | 335677.5959 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Distribution to equity (nothing while arrears are owed or cover is below the lock-up; negative = sponsor funds a loss) | EUR |  | 137986.6702 | 137859.7511 | 136594.6169 | 135098.6645 | 133438.1318 | 131603.9005 | 129586.3033 | 127375.0888 | 124959.3845 | 122327.6578 | 119467.6733 | 116366.4489 | 113010.208 | 109384.3286 | 211826.073 | 334990.1361 | 335231.9348 | 335427.8668 | 335576.8043 | 335677.5959 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Retained cash, closing | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity
Equity cash flow (final year sweeps retained cash and DSRA) | EUR | -3106352.783 | 137986.6702 | 137859.7511 | 136594.6169 | 135098.6645 | 133438.1318 | 131603.9005 | 129586.3033 | 127375.0888 | 124959.3845 | 122327.6578 | 119467.6733 | 116366.4489 | 113010.208 | 109384.3286 | 211826.073 | 334990.1361 | 335231.9348 | 335427.8668 | 335576.8043 | 335677.5959 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Hosts' power savings vs grid supply (hosts are the sponsor) | EUR |  | 49480.2 | 49775.102 | 50071.7616 | 50370.1893 | 50670.3956 | 50972.3912 | 51276.1866 | 51581.7927 | 51889.2202 | 52198.4799 | 52509.5829 | 52822.54 | 53137.3623 | 53454.061 | 53772.6472 | 54093.1322 | 54415.5273 | 54739.8438 | 55066.0933 | 55394.2872 | 0 | 0 | 0 | 0 | 0
Sponsor cash flow incl. power savings | EUR | -3106352.783 | 187466.8702 | 187634.8531 | 186666.3785 | 185468.8538 | 184108.5274 | 182576.2917 | 180862.4899 | 178956.8815 | 176848.6047 | 174526.1377 | 171977.2561 | 169188.9889 | 166147.5703 | 162838.3896 | 265598.7202 | 389083.2683 | 389647.4621 | 390167.7106 | 390642.8976 | 391071.8831 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Helper: CFADS shortfall vs debt service | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Helper: year with lock-up (999 = none) | year |  | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999
Helper: year of shortfall (999 = none) | year |  | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999
Project cash flow, unlevered (capex at t0, then sizing CFADS) | EUR | -4800000 | 311333.0312 | 311837.6665 | 312304.7273 | 312733.2667 | 313122.3177 | 313470.8931 | 313777.985 | 314042.5644 | 314263.5807 | 314439.9613 | 314570.6111 | 314654.4123 | 314690.2236 | 314676.8798 | 314613.1916 | 334990.1361 | 335231.9348 | 335427.8668 | 335576.8043 | 335677.5959 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Owner economics (hosts' holding owns ProjectCo; savings after the hosts' income tax)
Hosts' power savings after tax | EUR |  | 37669.2763 | 37893.7851 | 38119.6321 | 38346.8251 | 38575.3722 | 38805.2814 | 39036.5609 | 39269.2188 | 39503.2633 | 39738.7028 | 39975.5455 | 40213.7997 | 40453.4739 | 40694.5767 | 40937.1163 | 41181.1015 | 41426.5409 | 41673.4431 | 41921.8168 | 42171.6708 | 0 | 0 | 0 | 0 | 0
Sponsor cash flow incl. after-tax power savings | EUR | -3106352.783 | 175655.9464 | 175753.5363 | 174714.249 | 173445.4896 | 172013.504 | 170409.1819 | 168622.8642 | 166644.3076 | 164462.6479 | 162066.3605 | 159443.2187 | 156580.2486 | 153463.6819 | 150078.9053 | 252763.1893 | 376171.2376 | 376658.4757 | 377101.3099 | 377498.6211 | 377849.2667 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Owner cash flow, unlevered: project cash + after-tax savings (capex at t0) | EUR | -4800000 | 349002.3075 | 349731.4516 | 350424.3594 | 351080.0918 | 351697.6899 | 352276.1745 | 352814.5459 | 353311.7832 | 353766.844 | 354178.664 | 354546.1565 | 354868.212 | 355143.6975 | 355371.4565 | 355550.308 | 376171.2376 | 376658.4757 | 377101.3099 | 377498.6211 | 377849.2667 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Owner cash flow, unlevered, cumulative | EUR | -4800000 | -4450997.6925 | -4101266.2409 | -3750841.8815 | -3399761.7897 | -3048064.0998 | -2695787.9253 | -2342973.3794 | -1989661.5961 | -1635894.7521 | -1281716.0881 | -927169.9315 | -572301.7196 | -217158.022 | 138213.4344 | 493763.7424 | 869934.98 | 1246593.4558 | 1623694.7657 | 2001193.3868 | 2379042.6535 | 2387512.1999 | 2391954.6719 | 2392306.3566 | 2387477.1798 | 2377101.8791
Helper: first year cumulative owner cash >= 0 (999 = none) | year |  | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 14 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999

## Case B
Case B: no host on either rooftop, 100% exported (premium if won, else merchant)
All formulas. Inputs on the Inputs sheet. Debt schedule on the Debt sheet. EUR unless stated.
Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Generation
Operating year flag | 1/0 | bar: 1 to 25
Generation | MWh |  | 5940 | 5916.24 | 5892.575 | 5869.0047 | 5845.5287 | 5822.1466 | 5798.858 | 5775.6626 | 5752.5599 | 5729.5497 | 5706.6315 | 5683.805 | 5661.0698 | 5638.4255 | 5615.8718 | 5593.4083 | 5571.0347 | 5548.7505 | 5526.5555 | 5504.4493 | 5482.4315 | 5460.5018 | 5438.6598 | 5416.9051 | 5395.2375
Share of rooftops with a host buying on-site | 0-1 | bar: 1 to 25
Sold to hosts | MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported from rooftops with a host | MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported from rooftops without a host | MWh |  | 5940 | 5916.24 | 5892.575 | 5869.0047 | 5845.5287 | 5822.1466 | 5798.858 | 5775.6626 | 5752.5599 | 5729.5497 | 5706.6315 | 5683.805 | 5661.0698 | 5638.4255 | 5615.8718 | 5593.4083 | 5571.0347 | 5548.7505 | 5526.5555 | 5504.4493 | 5482.4315 | 5460.5018 | 5438.6598 | 5416.9051 | 5395.2375
Market premium contract active | 1/0 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported under premium | MWh |  | 5940 | 5916.24 | 5892.575 | 5869.0047 | 5845.5287 | 5822.1466 | 5798.858 | 5775.6626 | 5752.5599 | 5729.5497 | 5706.6315 | 5683.805 | 5661.0698 | 5638.4255 | 5615.8718 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported at merchant price | MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5593.4083 | 5571.0347 | 5548.7505 | 5526.5555 | 5504.4493 | 5482.4315 | 5460.5018 | 5438.6598 | 5416.9051 | 5395.2375
Revenue
PPA price | EUR/MWh |  | 110 | 111.1 | 112.211 | 113.3331 | 114.4664 | 115.6111 | 116.7672 | 117.9349 | 119.1142 | 120.3054 | 121.5084 | 122.7235 | 123.9508 | 125.1903 | 126.4422 | 127.7066 | 128.9837 | 130.2735 | 131.5762 | 132.892 | 134.2209 | 135.5631 | 136.9187 | 138.2879 | 139.6708
Merchant capture price | EUR/MWh |  | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
Host PPA revenue | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Export revenue net of marketing fee | EUR |  | 451885.5 | 450077.958 | 448277.6462 | 446484.5356 | 444698.5974 | 442919.8031 | 441148.1238 | 439383.5313 | 437625.9972 | 435875.4932 | 434131.9913 | 432395.4633 | 430665.8814 | 428943.2179 | 427227.445 | 234923.148 | 233983.4554 | 233047.5215 | 232115.3315 | 231186.8701 | 230262.1227 | 229341.0742 | 228423.7099 | 227510.015 | 226599.975
Total revenue | EUR |  | 451885.5 | 450077.958 | 448277.6462 | 446484.5356 | 444698.5974 | 442919.8031 | 441148.1238 | 439383.5313 | 437625.9972 | 435875.4932 | 434131.9913 | 432395.4633 | 430665.8814 | 428943.2179 | 427227.445 | 234923.148 | 233983.4554 | 233047.5215 | 232115.3315 | 231186.8701 | 230262.1227 | 229341.0742 | 228423.7099 | 227510.015 | 226599.975
Operating costs
O&M | EUR |  | 60000 | 61200 | 62424 | 63672.48 | 64945.9296 | 66244.8482 | 67569.7452 | 68921.1401 | 70299.5629 | 71705.5541 | 73139.6652 | 74602.4585 | 76094.5077 | 77616.3978 | 79168.7258 | 80752.1003 | 82367.1423 | 84014.4852 | 85694.7749 | 87408.6704 | 89156.8438 | 90939.9806 | 92758.7802 | 94613.9559 | 96506.235
Insurance | EUR |  | 15000 | 15300 | 15606 | 15918.12 | 16236.4824 | 16561.212 | 16892.4363 | 17230.285 | 17574.8907 | 17926.3885 | 18284.9163 | 18650.6146 | 19023.6269 | 19404.0995 | 19792.1814 | 20188.0251 | 20591.7856 | 21003.6213 | 21423.6937 | 21852.1676 | 22289.2109 | 22734.9952 | 23189.6951 | 23653.489 | 24126.5587
Roof lease | EUR |  | 24000 | 24480 | 24969.6 | 25468.992 | 25978.3718 | 26497.9393 | 27027.8981 | 27568.456 | 28119.8251 | 28682.2216 | 29255.8661 | 29840.9834 | 30437.8031 | 31046.5591 | 31667.4903 | 32300.8401 | 32946.8569 | 33605.7941 | 34277.9099 | 34963.4681 | 35662.7375 | 36375.9923 | 37103.5121 | 37845.5823 | 38602.494
Asset management, SPV admin, audit | EUR |  | 20000 | 20400 | 20808 | 21224.16 | 21648.6432 | 22081.6161 | 22523.2484 | 22973.7134 | 23433.1876 | 23901.8514 | 24379.8884 | 24867.4862 | 25364.8359 | 25872.1326 | 26389.5753 | 26917.3668 | 27455.7141 | 28004.8284 | 28564.925 | 29136.2235 | 29718.9479 | 30313.3269 | 30919.5934 | 31537.9853 | 32168.745
Grid and metering | EUR |  | 4000 | 4080 | 4161.6 | 4244.832 | 4329.7286 | 4416.3232 | 4504.6497 | 4594.7427 | 4686.6375 | 4780.3703 | 4875.9777 | 4973.4972 | 5072.9672 | 5174.4265 | 5277.9151 | 5383.4734 | 5491.1428 | 5600.9657 | 5712.985 | 5827.2447 | 5943.7896 | 6062.6654 | 6183.9187 | 6307.5971 | 6433.749
Inverter replacement reserve | EUR |  | 24000 | 24480 | 24969.6 | 25468.992 | 25978.3718 | 26497.9393 | 27027.8981 | 27568.456 | 28119.8251 | 28682.2216 | 29255.8661 | 29840.9834 | 30437.8031 | 31046.5591 | 31667.4903 | 32300.8401 | 32946.8569 | 33605.7941 | 34277.9099 | 34963.4681 | 35662.7375 | 36375.9923 | 37103.5121 | 37845.5823 | 38602.494
Bond running costs (while outstanding) | EUR |  | 20000 | 20400 | 20808 | 21224.16 | 21648.6432 | 22081.6161 | 22523.2484 | 22973.7134 | 23433.1876 | 23901.8514 | 24379.8884 | 24867.4862 | 25364.8359 | 25872.1326 | 26389.5753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating costs | EUR |  | 167000 | 170340 | 173746.8 | 177221.736 | 180766.1707 | 184381.4941 | 188069.124 | 191830.5065 | 195667.1166 | 199580.459 | 203572.0681 | 207643.5095 | 211796.3797 | 216032.3073 | 220352.9534 | 197842.6457 | 201799.4986 | 205835.4886 | 209952.1984 | 214151.2424 | 218434.2672 | 222802.9526 | 227259.0116 | 231804.1918 | 236440.2757
EBITDA | EUR |  | 284885.5 | 279737.958 | 274530.8462 | 269262.7996 | 263932.4267 | 258538.3089 | 253078.9998 | 247553.0248 | 241958.8806 | 236295.0343 | 230559.9231 | 224751.9538 | 218869.5017 | 212910.9106 | 206874.4916 | 37080.5022 | 32183.9567 | 27212.0329 | 22163.1331 | 17035.6278 | 11827.8554 | 6538.1216 | 1164.6983 | -4294.1768 | -9840.3007
Tax and cash flow available for debt service (CFADS)
Tax depreciation | EUR |  | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 0 | 0 | 0 | 0 | 0
Tax, unlevered (used for sizing, no interest shield) | EUR |  | 10714.1689 | 9485.4506 | 8242.513 | 6985.0303 | 5712.6703 | 4425.0943 | 3121.9573 | 1802.907 | 467.5848 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2823.3091 | 1560.6496 | 278.0135 | 0 | 0
Plant tax book value, 1 January (capex less depreciation to date) | EUR |  | 4800000 | 4560000 | 4320000 | 4080000 | 3840000 | 3600000 | 3360000 | 3120000 | 2880000 | 2640000 | 2400000 | 2160000 | 1920000 | 1680000 | 1440000 | 1200000 | 960000 | 720000 | 480000 | 240000 | 0 | 0 | 0 | 0 | 0
Net wealth tax, unlevered (sizing basis: plant value, no debt deducted) | EUR |  | 24000 | 22800 | 21600 | 20400 | 19200 | 18000 | 16800 | 15600 | 14400 | 13200 | 12000 | 10800 | 9600 | 8400 | 7200 | 6000 | 4800 | 3600 | 2400 | 1200 | 535 | 535 | 535 | 535 | 535
Sizing CFADS (EBITDA - unlevered tax - unlevered net wealth tax) | EUR |  | 250171.3311 | 247452.5074 | 244688.3332 | 241877.7693 | 239019.7565 | 236113.2146 | 233157.0426 | 230150.1178 | 227091.2958 | 223095.0343 | 218559.9231 | 213951.9538 | 209269.5017 | 204510.9106 | 199674.4916 | 31080.5022 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Bond interest (from Debt) | EUR |  | 130000 | 124624.1382 | 118898.8454 | 112801.4086 | 106307.6384 | 99391.7731 | 92026.3765 | 84182.2292 | 75828.2123 | 66931.1843 | 57455.8495 | 47364.618 | 36617.4564 | 25171.7292 | 12982.0298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax, levered (scheduled interest only; no loss carry-forward; conservative) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2823.3091 | 1560.6496 | 278.0135 | 0 | 0
Total assets, 1 January (plant + reserve + retained cash) | EUR |  | 4906352.783 | 4666352.783 | 4426352.783 | 4186352.783 | 3946352.783 | 3706352.783 | 3466352.783 | 3226352.783 | 2986352.783 | 2766507.2731 | 2541412.7577 | 2310979.7319 | 2075114.6532 | 1833719.7432 | 1586692.776 | 1333926.8555 | 960000 | 720000 | 480000 | 240000 | 0 | 0 | 0 | 0 | 0
Unitary value, 1 January (assets less bond and arrears owed) | EUR |  | 2906352.783 | 2749058.3489 | 2597139.7766 | 2450946.4971 | 2310850.6545 | 2177248.5821 | 2050562.3749 | 1931241.5643 | 1819764.9011 | 1736796.7448 | 1657476.611 | 1582293.3015 | 1511769.1709 | 1446462.3704 | 1386969.2399 | 1333926.8555 | 960000 | 720000 | 480000 | 240000 | 0 | 0 | 0 | 0 | 0
Net wealth tax (0.5% of unitary value, at least the minimum; not deductible) | EUR |  | 14531.7639 | 13745.2917 | 12985.6989 | 12254.7325 | 11554.2533 | 10886.2429 | 10252.8119 | 9656.2078 | 9098.8245 | 8683.9837 | 8287.3831 | 7911.4665 | 7558.8459 | 7232.3119 | 6934.8462 | 6669.6343 | 4800 | 3600 | 2400 | 1200 | 535 | 535 | 535 | 535 | 535
CFADS (EBITDA - levered tax - net wealth tax) | EUR |  | 270353.7361 | 265992.6663 | 261545.1473 | 257008.0671 | 252378.1734 | 247652.066 | 242826.1879 | 237896.817 | 232860.0561 | 227611.0505 | 222272.5401 | 216840.4873 | 211310.6559 | 205678.5988 | 199939.6454 | 30410.8679 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Cash waterfall (a missed amount stays owed as arrears with interest at the coupon and is paid first; owners get nothing while arrears are open)
Debt service due (from Debt) | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR (CFADS / debt service) | x | 1: 1.271; 2: 1.2505; 3: 1.2296; 4: 1.2083; 5: 1.1865; 6: 1.1643; 7: 1.1416; 8: 1.1184; 9: 1.0948; 10: 1.0701; 11: 1.045; 12: 1.0194; 13: 0.99344; 14: 0.96696; 15: 0.93998
Retained cash, opening | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20154.4902 | 35059.9748 | 44626.9489 | 48761.8703 | 47366.9602 | 40339.9931 | 133926.8555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Arrears owed to bondholders, opening | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default interest on arrears (at the coupon, ASSUMPTION) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total due to bondholders (scheduled + arrears + default interest) | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Paid to bondholders from operations and retained cash | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA, opening | EUR |  | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA drawn | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Arrears owed to bondholders, closing | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service NOT paid on time (this year's scheduled payment still owed; cash pays oldest first) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA target (months / 12 x next year's debt service) | EUR |  | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA top-up | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA release | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA, closing | EUR |  | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash available for distribution | EUR |  | 57648.1702 | 53287.1003 | 48839.5814 | 44302.5012 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 20154.4902 | 35059.9748 | 44626.9489 | 48761.8703 | 47366.9602 | 40339.9931 | 133926.8555 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Distribution to equity (nothing while arrears are owed or cover is below the lock-up; negative = sponsor funds a loss) | EUR |  | 57648.1702 | 53287.1003 | 48839.5814 | 44302.5012 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Retained cash, closing | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20154.4902 | 35059.9748 | 44626.9489 | 48761.8703 | 47366.9602 | 40339.9931 | 133926.8555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity
Equity cash flow (final year sweeps retained cash and DSRA) | EUR | -3106352.783 | 57648.1702 | 53287.1003 | 48839.5814 | 44302.5012 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Hosts' power savings vs grid supply (hosts are the sponsor) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sponsor cash flow incl. power savings | EUR | -3106352.783 | 57648.1702 | 53287.1003 | 48839.5814 | 44302.5012 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Helper: CFADS shortfall vs debt service | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1394.91 | 7026.9672 | 12765.9205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Helper: year with lock-up (999 = none) | year |  | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999
Helper: year of shortfall (999 = none) | year |  | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999
Project cash flow, unlevered (capex at t0, then sizing CFADS) | EUR | -4800000 | 250171.3311 | 247452.5074 | 244688.3332 | 241877.7693 | 239019.7565 | 236113.2146 | 233157.0426 | 230150.1178 | 227091.2958 | 223095.0343 | 218559.9231 | 213951.9538 | 209269.5017 | 204510.9106 | 199674.4916 | 31080.5022 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Owner economics (hosts' holding owns ProjectCo; savings after the hosts' income tax)
Hosts' power savings after tax | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sponsor cash flow incl. after-tax power savings | EUR | -3106352.783 | 57648.1702 | 53287.1003 | 48839.5814 | 44302.5012 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Owner cash flow, unlevered: project cash + after-tax savings (capex at t0) | EUR | -4800000 | 250171.3311 | 247452.5074 | 244688.3332 | 241877.7693 | 239019.7565 | 236113.2146 | 233157.0426 | 230150.1178 | 227091.2958 | 223095.0343 | 218559.9231 | 213951.9538 | 209269.5017 | 204510.9106 | 199674.4916 | 31080.5022 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Owner cash flow, unlevered, cumulative | EUR | -4800000 | -4549828.6689 | -4302376.1614 | -4057687.8282 | -3815810.0589 | -3576790.3025 | -3340677.0879 | -3107520.0453 | -2877369.9275 | -2650278.6317 | -2427183.5974 | -2208623.6743 | -1994671.7205 | -1785402.2188 | -1580891.3081 | -1381216.8165 | -1350136.3143 | -1322752.3576 | -1299140.3247 | -1279377.1916 | -1263541.5638 | -1255072.0175 | -1250629.5455 | -1250277.8607 | -1255107.0375 | -1265482.3382
Helper: first year cumulative owner cash >= 0 (999 = none) | year |  | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999

## Downside
Downside: some hosts stop buying from the year set on Inputs; optional yield and price shocks
All formulas. Inputs on the Inputs sheet. Debt schedule on the Debt sheet. EUR unless stated.
Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Generation
Operating year flag | 1/0 | bar: 1 to 25
Generation | MWh |  | 5940 | 5916.24 | 5892.575 | 5869.0047 | 5845.5287 | 5822.1466 | 5798.858 | 5775.6626 | 5752.5599 | 5729.5497 | 5706.6315 | 5683.805 | 5661.0698 | 5638.4255 | 5615.8718 | 5593.4083 | 5571.0347 | 5548.7505 | 5526.5555 | 5504.4493 | 5482.4315 | 5460.5018 | 5438.6598 | 5416.9051 | 5395.2375
Share of rooftops with a host buying on-site | 0-1 |  | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Sold to hosts | MWh |  | 4158 | 4141.368 | 4124.8025 | 4108.3033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported from rooftops with a host | MWh |  | 1782 | 1774.872 | 1767.7725 | 1760.7014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported from rooftops without a host | MWh |  | 0 | 0 | 0 | 0 | 5845.5287 | 5822.1466 | 5798.858 | 5775.6626 | 5752.5599 | 5729.5497 | 5706.6315 | 5683.805 | 5661.0698 | 5638.4255 | 5615.8718 | 5593.4083 | 5571.0347 | 5548.7505 | 5526.5555 | 5504.4493 | 5482.4315 | 5460.5018 | 5438.6598 | 5416.9051 | 5395.2375
Market premium contract active | 1/0 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported under premium | MWh |  | 0 | 0 | 0 | 0 | 5845.5287 | 5822.1466 | 5798.858 | 5775.6626 | 5752.5599 | 5729.5497 | 5706.6315 | 5683.805 | 5661.0698 | 5638.4255 | 5615.8718 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exported at merchant price | MWh |  | 1782 | 1774.872 | 1767.7725 | 1760.7014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5593.4083 | 5571.0347 | 5548.7505 | 5526.5555 | 5504.4493 | 5482.4315 | 5460.5018 | 5438.6598 | 5416.9051 | 5395.2375
Revenue
PPA price | EUR/MWh |  | 110 | 111.1 | 112.211 | 113.3331 | 114.4664 | 115.6111 | 116.7672 | 117.9349 | 119.1142 | 120.3054 | 121.5084 | 122.7235 | 123.9508 | 125.1903 | 126.4422 | 127.7066 | 128.9837 | 130.2735 | 131.5762 | 132.892 | 134.2209 | 135.5631 | 136.9187 | 138.2879 | 139.6708
Merchant capture price | EUR/MWh |  | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
Host PPA revenue | EUR |  | 457380 | 460105.9848 | 462848.2165 | 465606.7918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Export revenue net of marketing fee | EUR |  | 74844 | 74544.624 | 74246.4455 | 73949.4597 | 444698.5974 | 442919.8031 | 441148.1238 | 439383.5313 | 437625.9972 | 435875.4932 | 434131.9913 | 432395.4633 | 430665.8814 | 428943.2179 | 427227.445 | 234923.148 | 233983.4554 | 233047.5215 | 232115.3315 | 231186.8701 | 230262.1227 | 229341.0742 | 228423.7099 | 227510.015 | 226599.975
Total revenue | EUR |  | 532224 | 534650.6088 | 537094.662 | 539556.2516 | 444698.5974 | 442919.8031 | 441148.1238 | 439383.5313 | 437625.9972 | 435875.4932 | 434131.9913 | 432395.4633 | 430665.8814 | 428943.2179 | 427227.445 | 234923.148 | 233983.4554 | 233047.5215 | 232115.3315 | 231186.8701 | 230262.1227 | 229341.0742 | 228423.7099 | 227510.015 | 226599.975
Operating costs
O&M | EUR |  | 60000 | 61200 | 62424 | 63672.48 | 64945.9296 | 66244.8482 | 67569.7452 | 68921.1401 | 70299.5629 | 71705.5541 | 73139.6652 | 74602.4585 | 76094.5077 | 77616.3978 | 79168.7258 | 80752.1003 | 82367.1423 | 84014.4852 | 85694.7749 | 87408.6704 | 89156.8438 | 90939.9806 | 92758.7802 | 94613.9559 | 96506.235
Insurance | EUR |  | 15000 | 15300 | 15606 | 15918.12 | 16236.4824 | 16561.212 | 16892.4363 | 17230.285 | 17574.8907 | 17926.3885 | 18284.9163 | 18650.6146 | 19023.6269 | 19404.0995 | 19792.1814 | 20188.0251 | 20591.7856 | 21003.6213 | 21423.6937 | 21852.1676 | 22289.2109 | 22734.9952 | 23189.6951 | 23653.489 | 24126.5587
Roof lease | EUR |  | 24000 | 24480 | 24969.6 | 25468.992 | 25978.3718 | 26497.9393 | 27027.8981 | 27568.456 | 28119.8251 | 28682.2216 | 29255.8661 | 29840.9834 | 30437.8031 | 31046.5591 | 31667.4903 | 32300.8401 | 32946.8569 | 33605.7941 | 34277.9099 | 34963.4681 | 35662.7375 | 36375.9923 | 37103.5121 | 37845.5823 | 38602.494
Asset management, SPV admin, audit | EUR |  | 20000 | 20400 | 20808 | 21224.16 | 21648.6432 | 22081.6161 | 22523.2484 | 22973.7134 | 23433.1876 | 23901.8514 | 24379.8884 | 24867.4862 | 25364.8359 | 25872.1326 | 26389.5753 | 26917.3668 | 27455.7141 | 28004.8284 | 28564.925 | 29136.2235 | 29718.9479 | 30313.3269 | 30919.5934 | 31537.9853 | 32168.745
Grid and metering | EUR |  | 4000 | 4080 | 4161.6 | 4244.832 | 4329.7286 | 4416.3232 | 4504.6497 | 4594.7427 | 4686.6375 | 4780.3703 | 4875.9777 | 4973.4972 | 5072.9672 | 5174.4265 | 5277.9151 | 5383.4734 | 5491.1428 | 5600.9657 | 5712.985 | 5827.2447 | 5943.7896 | 6062.6654 | 6183.9187 | 6307.5971 | 6433.749
Inverter replacement reserve | EUR |  | 24000 | 24480 | 24969.6 | 25468.992 | 25978.3718 | 26497.9393 | 27027.8981 | 27568.456 | 28119.8251 | 28682.2216 | 29255.8661 | 29840.9834 | 30437.8031 | 31046.5591 | 31667.4903 | 32300.8401 | 32946.8569 | 33605.7941 | 34277.9099 | 34963.4681 | 35662.7375 | 36375.9923 | 37103.5121 | 37845.5823 | 38602.494
Bond running costs (while outstanding) | EUR |  | 20000 | 20400 | 20808 | 21224.16 | 21648.6432 | 22081.6161 | 22523.2484 | 22973.7134 | 23433.1876 | 23901.8514 | 24379.8884 | 24867.4862 | 25364.8359 | 25872.1326 | 26389.5753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating costs | EUR |  | 167000 | 170340 | 173746.8 | 177221.736 | 180766.1707 | 184381.4941 | 188069.124 | 191830.5065 | 195667.1166 | 199580.459 | 203572.0681 | 207643.5095 | 211796.3797 | 216032.3073 | 220352.9534 | 197842.6457 | 201799.4986 | 205835.4886 | 209952.1984 | 214151.2424 | 218434.2672 | 222802.9526 | 227259.0116 | 231804.1918 | 236440.2757
EBITDA | EUR |  | 365224 | 364310.6088 | 363347.862 | 362334.5156 | 263932.4267 | 258538.3089 | 253078.9998 | 247553.0248 | 241958.8806 | 236295.0343 | 230559.9231 | 224751.9538 | 218869.5017 | 212910.9106 | 206874.4916 | 37080.5022 | 32183.9567 | 27212.0329 | 22163.1331 | 17035.6278 | 11827.8554 | 6538.1216 | 1164.6983 | -4294.1768 | -9840.3007
Tax and cash flow available for debt service (CFADS)
Tax depreciation | EUR |  | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 240000 | 0 | 0 | 0 | 0 | 0
Tax, unlevered (used for sizing, no interest shield) | EUR |  | 29890.9688 | 29672.9423 | 29443.1347 | 29201.2489 | 5712.6703 | 4425.0943 | 3121.9573 | 1802.907 | 467.5848 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2823.3091 | 1560.6496 | 278.0135 | 0 | 0
Plant tax book value, 1 January (capex less depreciation to date) | EUR |  | 4800000 | 4560000 | 4320000 | 4080000 | 3840000 | 3600000 | 3360000 | 3120000 | 2880000 | 2640000 | 2400000 | 2160000 | 1920000 | 1680000 | 1440000 | 1200000 | 960000 | 720000 | 480000 | 240000 | 0 | 0 | 0 | 0 | 0
Net wealth tax, unlevered (sizing basis: plant value, no debt deducted) | EUR |  | 24000 | 22800 | 21600 | 20400 | 19200 | 18000 | 16800 | 15600 | 14400 | 13200 | 12000 | 10800 | 9600 | 8400 | 7200 | 6000 | 4800 | 3600 | 2400 | 1200 | 535 | 535 | 535 | 535 | 535
Sizing CFADS (EBITDA - unlevered tax - unlevered net wealth tax) | EUR |  | 311333.0312 | 311837.6665 | 312304.7273 | 312733.2667 | 239019.7565 | 236113.2146 | 233157.0426 | 230150.1178 | 227091.2958 | 223095.0343 | 218559.9231 | 213951.9538 | 209269.5017 | 204510.9106 | 199674.4916 | 31080.5022 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Bond interest (from Debt) | EUR |  | 130000 | 124624.1382 | 118898.8454 | 112801.4086 | 106307.6384 | 99391.7731 | 92026.3765 | 84182.2292 | 75828.2123 | 66931.1843 | 57455.8495 | 47364.618 | 36617.4564 | 25171.7292 | 12982.0298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax, levered (scheduled interest only; no loss carry-forward; conservative) | EUR |  | 0 | 0 | 1061.9803 | 2275.5526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2823.3091 | 1560.6496 | 278.0135 | 0 | 0
Total assets, 1 January (plant + reserve + retained cash) | EUR |  | 4906352.783 | 4666352.783 | 4426352.783 | 4186352.783 | 3946352.783 | 3706352.783 | 3466352.783 | 3226352.783 | 2986352.783 | 2766507.2731 | 2541412.7577 | 2310979.7319 | 2075114.6532 | 1833719.7432 | 1586692.776 | 1333926.8555 | 960000 | 720000 | 480000 | 240000 | 0 | 0 | 0 | 0 | 0
Unitary value, 1 January (assets less bond and arrears owed) | EUR |  | 2906352.783 | 2749058.3489 | 2597139.7766 | 2450946.4971 | 2310850.6545 | 2177248.5821 | 2050562.3749 | 1931241.5643 | 1819764.9011 | 1736796.7448 | 1657476.611 | 1582293.3015 | 1511769.1709 | 1446462.3704 | 1386969.2399 | 1333926.8555 | 960000 | 720000 | 480000 | 240000 | 0 | 0 | 0 | 0 | 0
Net wealth tax (0.5% of unitary value, at least the minimum; not deductible) | EUR |  | 14531.7639 | 13745.2917 | 12985.6989 | 12254.7325 | 11554.2533 | 10886.2429 | 10252.8119 | 9656.2078 | 9098.8245 | 8683.9837 | 8287.3831 | 7911.4665 | 7558.8459 | 7232.3119 | 6934.8462 | 6669.6343 | 4800 | 3600 | 2400 | 1200 | 535 | 535 | 535 | 535 | 535
CFADS (EBITDA - levered tax - net wealth tax) | EUR |  | 350692.2361 | 350565.3171 | 349300.1828 | 347804.2304 | 252378.1734 | 247652.066 | 242826.1879 | 237896.817 | 232860.0561 | 227611.0505 | 222272.5401 | 216840.4873 | 211310.6559 | 205678.5988 | 199939.6454 | 30410.8679 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Cash waterfall (a missed amount stays owed as arrears with interest at the coupon and is paid first; owners get nothing while arrears are open)
Debt service due (from Debt) | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR (CFADS / debt service) | x | 1: 1.6487; 2: 1.6481; 3: 1.6422; 4: 1.6351; 5: 1.1865; 6: 1.1643; 7: 1.1416; 8: 1.1184; 9: 1.0948; 10: 1.0701; 11: 1.045; 12: 1.0194; 13: 0.99344; 14: 0.96696; 15: 0.93998
Retained cash, opening | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20154.4902 | 35059.9748 | 44626.9489 | 48761.8703 | 47366.9602 | 40339.9931 | 133926.8555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Arrears owed to bondholders, opening | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default interest on arrears (at the coupon, ASSUMPTION) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total due to bondholders (scheduled + arrears + default interest) | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Paid to bondholders from operations and retained cash | EUR |  | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 212705.5659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA, opening | EUR |  | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA drawn | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Arrears owed to bondholders, closing | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service NOT paid on time (this year's scheduled payment still owed; cash pays oldest first) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA target (months / 12 x next year's debt service) | EUR |  | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA top-up | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA release | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA, closing | EUR |  | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 106352.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash available for distribution | EUR |  | 137986.6702 | 137859.7511 | 136594.6169 | 135098.6645 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 20154.4902 | 35059.9748 | 44626.9489 | 48761.8703 | 47366.9602 | 40339.9931 | 133926.8555 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Distribution to equity (nothing while arrears are owed or cover is below the lock-up; negative = sponsor funds a loss) | EUR |  | 137986.6702 | 137859.7511 | 136594.6169 | 135098.6645 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Retained cash, closing | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20154.4902 | 35059.9748 | 44626.9489 | 48761.8703 | 47366.9602 | 40339.9931 | 133926.8555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity
Equity cash flow (final year sweeps retained cash and DSRA) | EUR | -3106352.783 | 137986.6702 | 137859.7511 | 136594.6169 | 135098.6645 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Hosts' power savings vs grid supply (hosts are the sponsor) | EUR |  | 49480.2 | 49775.102 | 50071.7616 | 50370.1893 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sponsor cash flow incl. power savings | EUR | -3106352.783 | 187466.8702 | 187634.8531 | 186666.3785 | 185468.8538 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Helper: CFADS shortfall vs debt service | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1394.91 | 7026.9672 | 12765.9205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Helper: year with lock-up (999 = none) | year |  | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999
Helper: year of shortfall (999 = none) | year |  | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999
Project cash flow, unlevered (capex at t0, then sizing CFADS) | EUR | -4800000 | 311333.0312 | 311837.6665 | 312304.7273 | 312733.2667 | 239019.7565 | 236113.2146 | 233157.0426 | 230150.1178 | 227091.2958 | 223095.0343 | 218559.9231 | 213951.9538 | 209269.5017 | 204510.9106 | 199674.4916 | 31080.5022 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Owner economics (hosts' holding owns ProjectCo; savings after the hosts' income tax)
Hosts' power savings after tax | EUR |  | 37669.2763 | 37893.7851 | 38119.6321 | 38346.8251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sponsor cash flow incl. after-tax power savings | EUR | -3106352.783 | 175655.9464 | 175753.5363 | 174714.249 | 173445.4896 | 39672.6075 | 34946.5001 | 30120.622 | 25191.2511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164337.7235 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Owner cash flow, unlevered: project cash + after-tax savings (capex at t0) | EUR | -4800000 | 349002.3075 | 349731.4516 | 350424.3594 | 351080.0918 | 239019.7565 | 236113.2146 | 233157.0426 | 230150.1178 | 227091.2958 | 223095.0343 | 218559.9231 | 213951.9538 | 209269.5017 | 204510.9106 | 199674.4916 | 31080.5022 | 27383.9567 | 23612.0329 | 19763.1331 | 15835.6278 | 8469.5463 | 4442.472 | 351.6848 | -4829.1768 | -10375.3007
Owner cash flow, unlevered, cumulative | EUR | -4800000 | -4450997.6925 | -4101266.2409 | -3750841.8815 | -3399761.7897 | -3160742.0332 | -2924628.8186 | -2691471.7761 | -2461321.6583 | -2234230.3625 | -2011135.3282 | -1792575.4051 | -1578623.4513 | -1369353.9495 | -1164843.0389 | -965168.5473 | -934088.0451 | -906704.0884 | -883092.0554 | -863328.9224 | -847493.2946 | -839023.7482 | -834581.2763 | -834229.5915 | -839058.7683 | -849434.069
Helper: first year cumulative owner cash >= 0 (999 = none) | year |  | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999

## Short bond comparison
Comparison: 3-4 year crowdfunding-style bullet bond for the same amount
Same project, same amount, Case A cash flow. A bullet bond pays only interest, then all principal at maturity, so the project must refinance.
Amount | 2000000
Coupon | 7.5%
Term (years) | 4
Annual interest | 150000
Year-1 interest cover (Case A sizing CFADS / interest) | 2.0756
Cash retained after interest by maturity (Case A, no distributions) | 648208.6917
Principal due at maturity | 2000000
Refinancing needed at maturity | 1351791.3083
Refinancing need as % of amount | 67.59%
Interest paid in first 4 years: bullet bond | 600000
Interest paid in first 4 years: 15y amortising bond | 486324.3922